## Calibration Data
CALIBRATION REPORT
Instrument: | Transmitter #1 |  | Date: | 2026-10-21 05:21
Range: | 0 - 100 PSI |  | Linealidad: | 0%
Tolerance: | 0.5% |  | Repetibilidad: | 0%
# | Pressure (PSI) | Theoretical (mA) | Actual (mA) | Error (%) | Time
STATS | Points: 0 | Linearity: 0% | Repeatability: 0%
MSc. Ing. Jonny Cristhian Otero Baca - SENATI CFP Piura